## Design_Engineering
Feature | Standard / Basic | Premium / Elite | Luxury
Soil Test | ✖ | ✔ | ✔
Borewell Test | ✖ | ✔ | ✔
2D Floor Plan | ✔ | ✔ | ✔
3D Elevation | Basic | Premium | Luxury
Structural Design | ✔ | ✔ | ✔
Electrical Drawing | ✖ | ✔ | ✔

## Structure
Item | Standard | Premium | Luxury
Cement | Dalmia / Zuari / Ultratech | Same | Same
Steel | GSK / PWD | APS Steel | TATA
RCC Grade | M20 / M25 | M20 / M25 | M25
Foundation | Included | Included | Included
Foundation Waterproofing | ✖ | Dr Fixit Bitufix | Dr Fixit Bitufix

## Electrical
Item | Standard | Premium | Luxury
Wiring | Orbit / Polycab FRLSH | RR / Polycab FRLSH | Polycab FRLSH
Switch MCB | Legrand / Schneider / Roma | Legrand / Schneider | Legrand Schneider Anterior
Switch Model | Alizy | Lyncus | Premium
Main Board | Wooden Open Type | Steel Box | Panel Box

## Plumbing
Item | Standard | Premium | Luxury
CPVC Concealed | Ashirvad / Finolex | Same | Same
Potable Cold Water | UPVC | Same | Same
Grey Water Pipes | Neopro / Supreme | Finolex | Finolex

## Kitchen
Item | Standard | Premium | Luxury
Wall Tiles | Upto 2ft – ₹50 | ₹70 | ₹90
Flooring | ₹50 | ₹70 | ₹90
Countertop | Granite ₹150 | Granite ₹180 | Granite ₹200
Sink | SS Sink ₹2000 | SS Sink / Quartz ₹7500 | Quartz ₹12000

## Bathroom
Item | Standard | Premium | Luxury
Wall Tiles | ₹40 upto 7ft | ₹50 upto 9ft | ₹60 upto 10ft
Fittings | Parryware / Essco ₹15000 | Rube / Essco / Jaguar ₹30000 | Kohler ₹40000

## Doors_Joinery
Item | Standard | Premium | Luxury
Main Door Frame | Neem / Bamboo / Mixed | Nimbhar 1st Quality | Nimbhar Premium
Door Accessories | Upto ₹5000 | Upto ₹7000 | Upto ₹8000
Bedroom Door | 3x7 | 3x7 | 3x8
Bathroom Door | 2.6 x 7 UPVC | 2.6 x 7 UPVC | 2.6 x 8 UPVC / ABS
Windows | White / Ashara | Prominence | Prominence

## Paint
Item | Standard | Premium | Luxury
Internal Walls | Asian / Berger / Nerolac | Premium Range | Royal
External Paint | 1 Coat Damp Proof + Apex | 2 Coat Damp Proof + Ultima | Apex Ultima